**IMPORTANT INFORMATION ABOUT YOUR DRINKING WATER**

**MONITORING REQUIREMENTS NOT MET FOR EASTERN OKLAHOMA STATE COLLEGE**

Our water system violated a drinking water requirement over the last year. Even though this was not an emergency, as our customers, you have a right to know what happened and what we did to correct the situation. *We are required to monitor your drinking water for specific contaminants on a regular basis. Results of regular monitoring are an indicator of whether or not our drinking water meets health standards. During March, 2015, we did not properly monitor for bacteriological contaminants and chlorine residual and, therefore, cannot be sure of the quality of your drinking water during that time.*

**What should I do?** *There is nothing you need to do at this time.* The table below lists the contaminant we did not properly test for during March, how often we are supposed to sample for this contaminant and how many samples we are supposed to take, how many samples we took, when samples should have been taken, and the date on which follow-up samples were taken.

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
|  | | | | |
| **Contaminant** | **Required sampling frequency** | **Number of samples taken** | **When all samples should have been taken** | **When samples were taken** |
| Bacteriological | 1/MN | 0 | Mar 2015 | April 2015 |

**What is being done?** Our drinking water was sampled in April, 2015, and sent to The Oklahoma Department of Environmental Quality for testing, as per their requirements. The samples showed we are meeting drinking water standards. We will continue to sample the drinking water every month, as required by DEQ and EPA.

For more information, please contact Rich Lynes, EOSC Director of Operations, at 918.465.1802 or [rlynes@eosc.edu](mailto:rlynes@eosc.edu).

This notice is being sent to you by Eastern Oklahoma State College public water supply.

PWSID No.: OK3003905.

05/01/2015